Crime Scene Wide Floor Level Tracing Light source  OR-GZJ30B

It gives a wide floor level light beam which is ideal for detecting and photographing surface debris, shoe prints and any other micro traces evidence. And with the variable intensity white light to reveal floor level evidence.

Main parameters:

Light spot size: at 0.5 meters ≤ 8CM * 60CM

Power: ≥36W

Overall dimension: ≤142*247*50MM

Lighting time: ≥100 minutes

Charging voltage: 12.6V

Charging current: ≥3A

Working current: ≥2.8A

External power source: 220V for long time working

Battery type: lithium ion battery

Battery capacity: ≥9Ah

Light path features: The light spot is transformed into a flat pattern through the combination of three pieces of lens

Function: Button switch, stepless light adjustment

Shell: black aluminum alloy

Working temperature: normal temperature

Heat dissipation: air cooling (3 groups of mute cooling fans)

Net weight: ≤1.82KG